ESA614 / ESA615 Release Notes

Firmware version 3.01

- Requires MTR v3.01.03

- Requires VNC v1.09.01

- Add Receipt Style Report Printing to ESA614 and ESA615

- Print rotation is disabled when Receipt option is selected

- Fixed ESA614 automated test prompts to say ESA614

- Fixed lengthy Equipment Numbers on the Test Result Screen

- Fixed lengthy Applied Part group names when configuring Applied Parts in Test Sequence

- Fixed error message when returning to Test Results with no SD Card inserted

- Fixed Parameter Error after Mains Test in IEC62353 Test Sequence